City of Greenville  P.O. Box 158, Greenville, AL 36037  phone: 334-382-2647x224  fax: 334-371-4758

## APPLICATION FOR

## DEVELOPMENT PLAN

Applicant: _________________________________ Phone: _________________________

Address: _________________________________________________________________

Address of property to be developed: ___________________________________________

Description of development: __________________________________________________

_________________________________________________________________________

Present zoning: ____________________________________________________________

New Building ____________Addition_______________Alteration_______________

Commercial _____________Industrial______________Institutional______________

Single Residential _________________ Multifamily Residential_________________

Date construction to begin: _____________________________________________

Plans Attached? 		 Yes or   No

Specifications Attached? 	 Yes or   No

FEE: $300.00

I have been advised of the time and date of the Planning Commission meeting and I or a representative will be in attendance.

Signature of applicant: __________________________

Date: ________________________________________

Date application filed:  ___________________________

Official: _______________________________________

CB/ Last Update 10-01-2023

DEVELOPMENT PLAN GUIDELINES AND CHECKLIST

(This sheet must be completed and submitted with application)

The following information will be required on all development plans submitted to the City of Greenville’s Department of Community Development and Planning.

- A completed application and checklist with four (4) sets of plans, one (1) set of PDF set

- $200 Application Fee

- A Landscape Plan

- Engineered Stamped Storm Water Plans

- If the subject property is un-platted, or will require a re-plat, a plat and applicable fees will be submitted along with the development plan

Location of Development:

________________________________________________________________

Site Development Plan Requirements

The following information will be required to be on the face of the development plan:

- A physical E-911 assigned address

- All plans to be drawn to scale (scale noted), to include vicinity sketch, and north arrow.

- All existing and proposed property lines will be shown and dimensioned.

- All existing structures (to include pools, accessory structures, mail facilities, dumpster pad, screening/fencing, etc.) and proposed structures will be shown with square footages, type of constructions, and distances from all property lines.

- All existing/proposed signage with dimensions to property lines and height of sign.

- All existing/proposed easements.

- Existing and proposed fire hydrants and sprinkler connections.

- Existing and proposed water and sewer line location and sizes to include meter type and backflow form.  (Additional plans may be required by the Water & Sewer Board)

- All existing and proposed access drives, width and radii to be indicated.  Standard City detail required.  Typical turn lane detail, if applicable.

- Names and right-of-way widths of existing and/or proposed streets abutting property.

- All existing and/or proposed parking to include aisle widths and typical space dimensions.

- All existing and/or proposed handicap parking spaces, signage, and ramps.

- If the property is located within a flood zone, the base flood elevation and finished floor elevation (minimum of 2 ft. above base flood elevation) will be shown.  Additional engineered drainage plans may be required.

- The number of dwelling units, if any, within each building to be constructed

- Existing and proposed setbacks of all existing and proposed buildings on existing and proposed lots within the development, and existing setbacks on parcels adjoining the parcel proposed for development.

- Layout and type of surfacing of existing and proposed off street parking and loading/unloading spaces.

- Existing and proposed surface drainage.

All development plans submitted will be reviewed by the Planning Commission, Building Department, Fire Department, Greenville Water and Sewer Board and State Highway Department if applicable.  Any plans not meeting all the requirements cannot be processed.  Any developments requiring any type of variance will be submitted and heard by the Board of Adjustment prior to the development plan being reviewed.

Revised Development Plans

Two (2) sets of revised plans (as well as a PDF/Disc Set) will be submitted to the Department of Community Development and Planning.  The revised plans must reflect all department comments to be processed for permitting. All revised plans submitted incomplete cannot be processed.

APPLICATION FOR DEVELOPMENT PLAN/BOARD OF ADJUSTMENT

APPLICANT’S RESPONSIBILTY

I, ____________________________________________, the Owner/ Applicant, hereby certify that I have carefully read, or have read top me, this document, and I agree to comply with and be bound by its terms and conditions.

1.	OWNER/APPLICANT SOLEY RESPONSIBLE:

The Owner/Applicant understands and appreciates, the he/she is solely responsible for ensuring that the proposed construction/renovation fully complies with The City of Greenville’s Zoning and Building Code regulations, any other state local laws, all relevant plat restrictions and covenants, and/or subdivision/homeowner’s association restrictions and covenant’s, and any other restrictions or covenant’s applicable to this property that may be found in the public records of Butler County.  For this reason, you are strongly urged to obtain approval from the appropriate subdivision/homeowner’s association before you apply for a permit and begin construction.  Failure to do so could result in legal action by the subdivision of property owner’s association to enforce the restrictions or covenants.  The City of Greenville does not warrant that, or assume any duty to determine if, an application for a building permit is in compliance with said restrictions and/or covenants.

2.	CITY OF GREENVILLE ASSUMES NO RESPONSIBILTY

The City of Greenville in no way warrants, in approving an application for a Development Plan or Board of Adjustment, that the construction/renovation to be undertaken is in compliance with and satisfies any plat, subdivision or homeowner’s association restrictions or covenants, or any other state or local laws.

____________________________

Signature of Owner/Applicant					Date: ____________________

PROPERTY LOCATION:

________________________________________(E-911 Physical Address)

DEVELOPMENT PLAN CONTACT FOR EACH DEPARTMENT

Building Department: John Haire, Building Official

119 East Commerce Street

P.O. Box 158

Greenville, AL 36037

334-382-4675 (office)

334-303-7063 (mobile)

City Horticulturist: 	Jimmy Cole

119 East Commerce Street

P.O. Box 158

Greenville, AL 36037

334-382-5222

334-437-0924

Fire Department:	Fire Chief Timothy Warrick

119 East Commerce Street

P.O. Box 158

Greenville, AL 36037

334-382-3134

Public Works Department:	 Garrett Luckie

2109 Luverne Hwy.

Greenville, AL 36037

334-382-8271 (office)

334-368-0201 (mobile)

Water Works & Sanitary Sewer Board: Kris Findley

110 Cedar Street

Greenville, AL 36037

334-382-6661(office)

334-525-0947(mobile)

State Highway Department, 6th district: Jason Fox, District Manager

2618 Fort Dale Rd.

Greenville, Al.  36037

334-382-6614

Butler County Health Department:	 Jim Wood

P.O. Box 339

Greenville, AL 36037

334-382-3154

Alabama Power:

400 Greenville Bypass

Greenville, AL 36037

334-382-7451

FIRE DEPARTMENT

Development Plan Requirements

You must submit one Development Plan with only the following information:

1.		Square Footage of proposed building

2.		Type of construction

3.		Type of occupancy

4.		Number of floors

5.		Distance from property line

6.		Location of existing and/or proposed fire hydrants

7.		Size of existing and/or proposed water mains

8. 		Floor plan

9.		Location of fire alarm system

10. 		Fire Department sprinkler connection